## Deviation
|  | 116944.822 |  |  |  | VARIATION STATEMENT
Name of work: ENGG- GTL-0005:Kalluru:Provision of water hydrant arrangements and GLR, bore well pipeline arrangements at Kalluru station.
| Agreement No. 48/17/GTL/Central dated 08/06/2017 | [10 empty] | Name of the Contractor: M/s. Alam Constructions, Railway Contractors, No.6-5-694-3, Near: Water tank, Srinagar Colony, Anantapur- 515 004
Sl.no | SSR No | Description | [7 empty] | Non-Foundation items | [7 empty] | Foundation Items |  | Minor items |  |  |  | SAVINGS
|  |  | Cat | Unit | RATE | AGREEMENT |  | VARIATION |  | Within 25% |  | Bet. 25 - 40% |  | Bet.40 - 50% |  | Above 50% |  |  |  | within 100% | Amount | Beyond 100% | Amount | Upto 25% | Amount | Beyond 25% | Amount | REMARKS
[6 empty] | Qty. | Amount | Qty. | Amount | Qty. | Amount | Qty. | Amount | Qty. | Amount | Qty. | Amount | Qty | Amount
[5 empty] | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps. |  | Rs. Ps.
Sch "A" ( FOUNDATION ITEMS)
1 | 011011 | Earth work in excavation as per approved drawings and dumping at embankment site or spoil heap, within railway land, including 50m lead and 1.5, lift, the lead to be measured from the centre of gravity of excavation measured from natural ground level and paid for in layers of 1.5m each, including incidental work, as per specifications-in all kinds of soils | F | Cum | 100.28 | 1597.41 | 160188.2748 | 900 | 90252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As actual site condition.
2 | 012010 | Earth work in excavation as per approved drawings etc., - Extra over item 011010 for excavation in foundat etc., - | F | Cum | 10.1 | 6.55 | 66.155 | 300 | 3030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 293.45 | 2963.845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As actual site condition.
3 | 012050 | Supplying and filling sand in plinth and under floors including watering, ramming, consolidating and dressing complete | F | Cum | 615.03 | 16.42 | 10098.7926 | 45 | 27676.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.58 | 17577.5574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per actual and sandoms and GM Instructions.
4 | 031011 | Providing and laying in position cement concrete etc., - 1:3:6 (1 cement : 3 sand : 6 graded stone aggregate 20mm nominal size) | F | Cum | 2085.21 | 21.89 | 45645.2469 | 21.89 | 45645.2469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Actual site condition.
5 | 031012 | Providing and laying in position cement concrete etc., - 1:3:6 (1 cement : 3 sand : 6 graded stone aggregate 40mm nominal size) | F | Cum | 1865.68 | 81.84 | 152687.2512 | 81.84 | 152687.2512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement Kadarpeta PF No.1 Flooring and GM Instructions.
6 | 031023 | Providing and laying cement concrete, up to plinth in retaining walls, etc., - 1:2:4 (1 cement : 2 sand : 4 graded stone aggregate 20mm nominal size) | F | Cum | 2309.45 | 487.35 | 1125510.4575 | 487.35 | 1125510.4575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Site Condition.
7 | 041011 | Providing and laying in position M 20 Grade concrete for reinforced concrete etc., -All work in buildings above plinth level upto floor two level. | F | cum | 2326.7 | 47.49 | 110494.983 | 47.49 | 110494.983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Site Condition.
8A | 042011 | Foundation, footing, bases of columns, raft foundation of washables aprons, pile caps, Footings of FOB etc. | F | sqm | 132.5 | 785.1 | 104025.75 | 16.12 | 2135.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Site Condition.
8B | 42011(042023) | Extra for shuttering in circular work(20% of respective centering and shuttering items)[RATE = 20%] | F | sqm | 26.5 | 367.5 | 9738.75 | 16.12 | 427.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Site Condition.
8C | 42012 | Walls (any thickness) including attached plasters, buttresses, plinth and string courses etc. | f | sqm | 227.7 | 2566.91 | 584485.407 | 1667.91 | 379783.107 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
8D | 042012(042023) | Extra for shuttering in circular work (20% of respective centering and shuttering items) [RATE = 20%] | f | sqm | 45.54 | 308.5 | 14049.09 | 261.41 | 11904.6114 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
9 | 051015 | Brick work with non-modular (FPS) bricks of class etc., - Cement mortar 1:6 (1 cement : 6 coarse sand) | F | cum | 2243.38 | 21.58 | 48412.1404 | 25 | 56084.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.42 | 7672.3596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Requirement for New PRS Building.
10 | 061014 | Random rubble masonry with hard stone in fo etc., - Cement mortar 1:6 (1cement: 6fine sand) | F | cum | 1933.33 | 31.4 | 60706.562 | 35 | 67666.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6 | 6959.988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Site Condition PW Office Shied.
|  | Total |  |  |  |  | 2426108.8604 |  | 2073298.137 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35173.75 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)5 % as per Agt |  |  |  |  | 121305.443 |  | 103664.9068 |  | 0 |  | 0 |  | 0 |  | 0 |  | 5979.5375 |  | 0 |  | 0 |  | 0 |  | 0
|  | G Total |  |  |  |  | 2547414.3034 |  | 2176963.0439 |  | 0 |  | 0 |  | 0 |  | 0 |  | 41153.2875 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 0 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 2176963.0439
|  | Grand Total of Schedule A |  |  |  |  | 2547414.3034 |  | 2176963.04 |  | 0 |  | 0 |  | 0 |  | 0 |  | 41153.2875 |  | 0 |  | 0 |  | 0 |  | 0
Sch "B" (OTHER THAN FOUNDATION ITEMS)
1 | 181022 | Demolishing plain cement concrete including disposal of material within 50m lead Mix leaner than 1:2:4 with coarse aggregate larger than 20mm | M | cum | 314.85 | 3 | 944.55 | 3 | 944.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
2 | 011070 | extra for every additional lift of 1.5m or part thereof, after the initial 1.5m, for earth work in all soils | M | cum | 431.31 | 9 | 3881.79 | 34.27 | 14780.9937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 3881.79 | 16.27 | 7017.4137 | 0 | 0 | 0 | 0 | As required as per site condition
3 | 0.011012 | Earth work in excavation as per approved drawings and dumping at embankment site or spoil heap, within railway land, including 50m lead and 1.5, lift, the lead to be measured from the centre of gravity of excavation to center of gravity of spoil heap:the lift to be measured from natural ground level and paid for in layers of 1.5m each, including incidental work, as per specifications-in Ordinary Rock (Not requiring blasting) | M | sqm | 11.31 | 240 | 2714.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 678.6 | 180 | 2035.8 | As per Actual.
4 | 0.02107 | Loading/Unloading ballast, kankar, brickbats, stone-chips, shingle, stone boulders, block kankar, pitching stones , rubble stones, laterite, coal, surkhi, dry mortar, sand , moorum, earth, manure or sludge, ashes, lime etc., includind lead uo to 50m and stacking into/from trucks, trailors or wagons | M | sqm | 24.32 | 102.65 | 2496.448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.66 | 624.0512 | 76.99 | 1872.3968 | As per Actual.
5 | 0.02109 | Leading ballast, kankar, brickbats, stone-chips, shingle, stone boulders, block kankar, pitching stones, rubble stones, laterite, coal, surkhi, dry mortar, sand, moorum, earth, manure or sludge, ashes, lime, debris, muck, malba, etc. for lead upto 25km. Note: Lead under this item is payable when the same exceeds 500m. | M | sqm | 16.57 | 278.45 | 4613.9165 | 311.7 | 5164.869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.25 | 550.9525 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
6 | 0.03206 | Extra for providing and mixing water proofing material of brand approved by railway, if not included in relevant item. | M | each | 106.53 | 3 | 319.59 | 12 | 1278.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 319.59 | 6 | 639.18 | 0 | 0 | 0 | 0 | As required as per site condition
7 | 0.041012 | Providing and laying in position M 20 Grade concrete for reinforced concrete structural elements but excluding cost of centering, shuttering reinforcement and Admixtures in recommended proportion(as per IS:9103) too accelerate, retard setting of concrete improve workability without impairing strenght and durability as per direction of engineer in charge All work in buildings above plinth level uoto floor two level. | M | kg | 0.7 | 3803 | 2662.1 | 2634.17 | 1843.919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
8 | 0.041016 | Providing and laying in position M 20 Grade concrete for reinforced concrete structural elements but excluding cost of centering, shuttering reinforcement and Admixtures in recommended proportion(as per IS:9103) too accelerate, retard setting of concrete improve workability without impairing strenght and durability as per direction of engineer in charge in arches, arch ribs, domes, vaults,shells, folded plates and roofs having slopes above 150. | M | sqm | 49.84 | 22 | 1096.48 | 21.92 | 1092.4928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Actual.
9 | 041018 | Providing and laying in position M 20 Grade concrete for reinforced concrete structural elements but excluding cost of centering, shuttering reinforcement and Admixtures in recommended proportion(as per IS:9103) too accelerate, retard setting of concrete improve workability without impairing strenght and durability as per direction of engineer in charge in vertical and Horizontal fins individually or forming box louvers, facias and eaves boards. | M | cum | 59.54 | 720 | 42868.8 | 500 | 29770 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Actual.
10 | 042025 | Centering and shuttering including strutting, propping etc. and removal of form for special shapes Edges of slabs and beams in floors and walls under 20 cm wide | M | cum | 46.62 | 820 | 38228.4 | 500 | 23310 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per Actual.
11 | 021090 | Leading ballast, kankar, brickbats, stone-chips, shingle, stone boulders, block kankar, pitching stones, rubble stones, laterite, coal, surkhi, dry mortar, sand, moorum, earth, manure or sludge, ashes, lime, debris, muck, malba, etc. for lea | M | cum | 59.54 | 50 | 2977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5 | 744.25 | 37.5 | 2232.75 | As per Actual.
12 | 032031 | Providing and fixing at or near ground level, Precast M 20 grade cement concreteetc., - in kerbs, edging etc. | NF | cum | 2338.62 | 342 | 799808.04 | 150 | 350793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.5 | 199952.01 | 106.5 | 249063.03 | As per site condition
13 | 041012 | Providing and laying in position M 20 Grade concrete for reinforced concrete etc., -All work in buildings above plinth level upto floor two level. | M | cum | 2530.27 | 25.03 | 63332.6581 | 41.39 | 104727.8753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.36 | 41395.2172 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
14 | 042013 | Centering and shuttering etc., for - Suspended floors, roofs, landings, balconies, FOB slabs, walkway slabs and access platform | M | sqm | 230.7 | 128.61 | 29670.327 | 161.33 | 37218.831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.72 | 7548.504 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
15 | 042014 | Centering and shuttering etc., for - Lintels, beams, plinth beams, bed blocks, girders, bressumers and cantilevers | M | sqm | 199.23 | 93 | 18528.39 | 193.24 | 38499.2052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 18528.39 | 7.24 | 1442.4252 | 0 | 0 | 0 | 0 | As required as per site condition
16 | 042025 | Centering and shuttering etc., for - Edges of slabs and beams in floors and walls under 20 cm wide | M | mtr | 79.6 | 67 | 5333.2 | 56.63 | 4507.748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
17 | 043015 | Providing, hoisting and fixing in position upto floor two level M20 Grade precast RCC work etc., - In slabs for drain covers, manhole covers, flue tops etc. | M | cum | 2982.2 | 2.81 | 8379.982 | 2.81 | 8379.982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not operated site condition.
18 | 044010 | Encasing rolled steel sections, in beams and columns with Grade 15 cement concrete 1:2:4 (1 cement: 2 sand: 4 graded stone aggregate 12.5mm nominal size) including centering and shuttering but excluding the cost of cement and reinforc | M | cum | 5150.18 | 1 | 5150.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 1287.545 | 0.75 | 3862.635 | Not operated site condition.
19 | 044021 | Encasing RS or rail section with 12mm mesh rabbit wire including cost of rabbit wire. | M | sqm | 166.12 | 6 | 996.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 249.18 | 4.5 | 747.54 | Not operated site condition.
20 | 051018 | Brick work with non-modular (FPS) bricks of class etc., - Cement mortar 1:6 (1 cement : 6 coarse sand) | NF | cum | 2277.09 | 58.42 | 133027.5978 | 95.02 | 216369.0918 | 14.605 | 33256.8995 | 8.763 | 19954.1397 | 5.842 | 13302.7598 | 7.39 | 16827.6951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
21 | 051040 | Extra over item 051010 & 051020 for brick work in superstructure beyond plinth level upto floor two level : | M | cum | 166.76 | 52.18 | 8701.5368 | 95.02 | 15845.5352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.84 | 7143.9984 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
22 | 051182 | Half brick masonry with bricks of class designation 7.5 in foundations and plinth in Cement mortar 1:4 (1 Cement : 4 coarse sand) | M | sqm | 272.84 | 63.5 | 17325.34 | 50.99 | 13912.1116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per actual.
23 | 051190 | Extra for half Brick masonry in superstructure above plinth level upto floor two level | M | sqm | 46.13 | 52.7 | 2431.051 | 50.99 | 2352.1687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per actual.
24 | 072142 | Providing and fixing to IS: 2202 Part-1 marked flu etc., - 30mm thick including ISI marked stainless steel butt hinges with necessary screws | M | sqm | 1561.36 | 36.39 | 56817.8904 | 25 | 39034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1 | 14208.376 | 2.29 | 3575.5144 | No Variation, as per site condition.
25 | 073030 | Providing and fixing 25mm thick cup board shutters , with prelaminated flat pressed 3 layer particle board conforming to IS 12823 -Grade I, having one side decorative lamination of approved shade and other side balancing lamination including second cl | M | sqm | 2576.73 | 36.56 | 94205.2488 | 19.12 | 49267.0776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.14 | 23551.3122 | 7.3 | 18810.129 | No Variation, as per site condition.
26 | 074212 | Providing and fixing curtain rods of 1.25mm thick etc., - 20mm dia. | M | mtr | 198.3 | 50.4 | 9994.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6 | 2498.58 | 37.8 | 7495.74 | 0 | 0 | As per actual.
27 | 075191 | Providing and fixing ISI marked Copper oxidized M. etc., - 300x16 mm | M | each | 139.67 | 10 | 1396.7 | 17 | 2374.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 977.69 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
28 | 077051 | Providing and fixing bright finished brass sliding etc., - 300x16mm | M | each | 242.47 | 6 | 1454.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 363.705 | 3.5 | 848.645 | Not operated as site condition.
29 | 077063 | Providing and fixing bright finished brass tower b etc., - 150x10mm | M | each | 133.29 | 5 | 666.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 166.6125 | 3.75 | 499.8375 | Not operated as site condition.
30 | 077064 | Providing and fixing bright finished brass tower b etc., - 100x10mm | M | each | 57.79 | 3 | 173.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 43.3425 | 2.25 | 130.0275 | Not operated as site condition.
31 | 077071 | Providing and fixing bright finished brass handles etc., - 125 mm | M | each | 111.46 | 5 | 557.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 139.325 | 3.75 | 417.975 | Not operated as site condition.
32 | 077140 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws etc. complete | M | each | 57.05 | 4 | 228.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 57.05 | 3 | 171.15 | Not operated as site condition.
33 | 077552 | Providing and fixing special quality cop etc., - Size 50mm | M | each | 259.76 | 18 | 4675.68 | 13 | 3376.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5 | 1168.92 | 0.5 | 129.88 | As per Actual site condition.
34 | 077560 | Providing and fixing copper oxidised brass 50mm cupboard or wardrobe knobs with nuts complete | M | each | 69.08 | 34 | 2348.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5 | 587.18 | 25.5 | 1761.54 | Not operated as per site condition.
35 | 077570 | Providing and fixing copper oxidised brass hanging type floor door stopper with necessary screws etc. complete | M | each | 169.09 | 5 | 845.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 211.3625 | 3.75 | 634.0875 | Not operated as per site condition.
36 | 077600 | Providing and fixing magnetic catcher ISI marked with necessary screws etc. complete | M | each | 27.08 | 40 | 1083.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 270.8 | 30 | 812.4 | Not operated as per site condition.
37 | 078022 | Providing and fixing aluminium sliding door bolts etc., - 250x16mm | M | each | 84.29 | 10 | 842.9 | 6 | 505.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 210.725 | 1.5 | 126.435 | As per actual.
38 | 078034 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete 150x10mm | M | each | 35.34 | 6 | 212.04 | 11 | 388.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 176.7 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
39 | 078035 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete 100x10mm | M | each | 27.21 | 8 | 217.68 | 9 | 244.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 27.21 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
40 | 078062 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete 100mm | M | each | 15.42 | 6 | 92.52 | 23 | 354.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 92.52 | 11 | 169.62 | 0 | 0 | 0 | 0 | As required as per site condition
41 | 078130 | Providing and fixing factory made P.V.C. door frame of size 50x47mm with a wall thickness of 5mm, made out of extruded 5mm rigid PVC foam sheet mitered at corners and joined with 2 Nos. of 150mm long brackets of 15x15mm M.S. square tube, the vertical door | M | mtr | 387.59 | 30.32 | 11751.7288 | 67.49 | 26158.4491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.32 | 11751.7288 | 6.85 | 2654.9915 | 0 | 0 | 0 | 0 | As required as per site condition
42 | 078140 | Providing and fixing to existing door frames 30mm thick factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19mm x 19mm for styles and 15x15mm for top & bottom rails. M.S .frame shall have a coa | M | sqm | 2138.27 | 5.64 | 12059.8428 | 16.57 | 35431.1339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.64 | 12059.8428 | 5.29 | 11311.4483 | 0 | 0 | 0 | 0 | As required as per site condition
43 | 078150 | Providing and fixing to existing door frames 30mm thick factory made solid both side prelaminated panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19mm x 19mm for styles and15x15mm, top & bottom rails. M. | M | sqm | 2608.68 | 2 | 5217.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 1304.34 | 1.5 | 3913.02 | Not operated as per site condition.
44 | 078240 | Providing and fixing to existing door frame 30mm thick factory made Poly Vinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60mmx30mm and wall thickness 2mm±0.2mm with inbuilt decorative mould-in edging on one side | M | sqm | 2404.49 | 4 | 9617.96 | 3.81 | 9161.1069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 456.8531 | 0 | 0 | As per Site condition
45 | 081211 | Supplying and fixing rolling shutters of approved etc., - 80x1.25mm M.S. laths with 1.25mm thick top cover | M | sqm | 1360.11 | 10 | 13601.1 | 16.14 | 21952.1754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.14 | 8351.0754 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
46 | 082032 | Providing and fixing glazing in aluminium d etc., - With float/frosted glass panes of 5.5mm thickness (weight not less than 13.75 kg/sqm) | M | sqm | 768.14 | 26.5 | 20355.71 | 19.64 | 15086.2696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.625 | 5088.9275 | 0.235 | 180.5129 | As required as per site condition
47 | 082041 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture IS:6315 including cost of cutting floors as required, embedding in floors and cover plates with brass pivot and single piece M.S. Sheet outer box with slide plate etc. complete as per the direction of Engineer-incharge With Stainless Steel cover plate | M | each | 1837.16 | 2 | 3674.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 918.58 | 1.5 | 2755.74 | No Variation, as per site condition.
48 | 082080 | Aluminium Composite Cladding - Providing and fixing Aluminium Composite Panels having total thickness of 4mm (with 0.5mm thick aluminium foil skin on both sides) alongwith minimum 25 micron PVdF Coating on top coil and Polymer/epoxy coating on Back coil ( | M | sqm | 1728.47 | 50 | 86423.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5 | 21605.875 | 37.5 | 64817.625 | As per actual.
49 | 083020 | Providing and fixing Aluminium round/ square bars / flats or grill in frame of windows and cleastory windows | M | sqm | 630.52 | 26.5 | 16708.78 | 39.84 | 25119.9168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.34 | 8411.1368 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
50 | 092011 | Cement concrete flooring 1:2:4 (1cement: 2coarse sand: 4graded stone aggregate) finished with a floating coat of neat cement including cement slurry, but excluding the cost of nosing of steps etc. complete 25mm thick with 12.5mm nominal size stone aggregate | NF | sqm | 98.53 | 2280 | 224648.4 | 4831.9 | 476087.107 | 570 | 56162.1 | 342 | 33697.26 | 228 | 22464.84 | 1411.9 | 139114.507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement Kadarpeta PF No.1 Flooring and GM Instructions.
51 | 092012 | Cement concrete flooring 1:2:4 (1cement: 2coarse etc., - 40mm thick with 20mm nominal size stone aggregate | M | sqm | 136.9 | 140.51 | 19235.819 | 472 | 64616.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140.51 | 19235.819 | 190.98 | 26145.162 | 0 | 0 | 0 | 0 | As required as per site condition
52 | 094062 | Providing & fixing Precast Chequered tiles conform etc., - 300mm x 300mm x 30mm thick | M | sqm | 574.75 | 94 | 54026.5 | 10.62 | 6103.845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5 | 13506.625 | 59.88 | 34416.03 | No Variation, as per site condition.
53 | 095012 | Providing and fixing Ist quality ceramic tiles conforming to Group B-III (Ceramic Wall Tiles) of IS:15622 of manufacturers approved by railway in all colours, shades, and design as approved by the Engineer-in-Charge in skirting, risers of steps and dado over 12mm thick bed of cement mortar 1:3 (1cement: 3coarse sand) including pointing in white cement mixed with pigment of matching shade complete 200x300 mm | M | sqm | 528.39 | 15.12 | 7989.2568 | 52.58 | 27782.7462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.12 | 7989.2568 | 22.34 | 11804.2326 | 0 | 0 | 0 | 0 | As required as per site condition PRS Building, Anantapur.
54 | 095013 | Providing and fixing Ist quality ceramic tiles conforming to Group B-III (Ceramic Wall Tiles) of IS:15622 of manufacturers approved by railway in all colours, shades, and design as approved by the Engineer-in-Charge in skirting, risers of steps and dado over 12mm thick bed of cement mortar 1:3 (1cement: 3coarse sand) including pointing in white cement mixed with pigment of matching shade complete 00x450 mm and above | M | sqm | 671.29 | 81.31 | 54582.5899 | 58.89 | 39532.2681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.33 | 13647.3257 | 2.09 | 1402.9961 | 0 | 0 | 0 | 0 | As per Actual site condition.
55 | 095021 | Providing and fixing ceramic tiles conforming etc., - Of Group B-II Clause 5.1 (for abrasion resistance) of IS:15622 (Ceramic Floor Tiles) of size 300x300mm | NF | sqm | 477.57 | 315 | 150434.55 | 42.92 | 20497.3044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78.75 | 37608.6375 | 193.33 | 92328.6081 | No Variation, as per site condition.
56 | 095023 | Providing and fixing ceramic tiles conforming etc., - Of Group B-I-b of IS : 15622 (Ceramic Tiles) of size 200x200mm to 400x400mm | M | sqm | 656.15 | 21.34 | 14002.241 | 17.46 | 11456.379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.88 | 2545.862 | 0 | 0 | No Variation, as per site condition.
57 | 095027 | Providing and fixing ceramic tiles conforming etc., - Of Group B-I-a of IS : 15622 (Vitrified tiles) of size 800x800mm and above | M | sqm | 953.79 | 81 | 77256.99 | 57.92 | 55243.5168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.25 | 19314.2475 | 2.83 | 2699.2257 | No Variation, as per site condition.
58 | 099034 | Providing and fixing 18mm thick mirror polis etc., - Granite Black. Area of slab over 0.5 Sqm but upto 1.0 Sqm | M | sqm | 2499.87 | 2.88 | 7199.6256 | 14.36 | 35898.1332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 7199.6256 | 8.6 | 21498.882 | 0 | 0 | 0 | 0 | As per requirement New PRS Building, Anantapur.
59 | 099045 | Providing and fixing 18mm thick mirror polis etc., - Granite Pink. Area of slab over 1.0 Sqm but upto 2.0 Sqm Or larger | M | sqm | 2141.89 | 21 | 44979.69 | 188.14 | 402975.1846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 44979.69 | 146.14 | 313015.8046 | 0 | 0 | 0 | 0 | As per requirement New PRS Building, Anantapur.
60 | 099052 | Providing and fixing 40mm thick Cuddapah stone polished, machine cut for kitchen platforms, vanity counters facias, dados and skirting and similar locations of required size, laid over 20mm thick base cement mortar 1:4 (1cement: 4coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touchups including rubbing, curing etc. complete at all levels Area of slab over 0.5 Sqm but upto 1.0 Sqm | M | sqm | 1188.83 | 21.6 | 25678.728 | 20.1 | 23895.483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 1783.245 | 0 | 0 | No Variation, as per site condition.
61 | 099062 | Extra for providing edge moulding to 16mm to 20mm thick marble/granite stone counters, vanities etc including machine polishing to edge to give high gloss finish etc. complete as per design approved by the Engineer-in-Charge Granite work | M | mtr | 119.14 | 31.9 | 3800.566 | 114.35 | 13623.659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9 | 3800.566 | 50.55 | 6022.527 | 0 | 0 | 0 | 0 | As per requirement New PRS Building, Anantapur.
62 | 106100 | Providing and fixing at all height false ceiling of 12.5mm thick tapered edge gypsum board conforming to IS: 2095-Part I, including providing and fixing of frame work made of special sections power pressed from M.S. sheet and galvanised with zinc coating | M | sqm | 680.61 | 83.54 | 56858.1594 | 188.43 | 128247.3423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.54 | 56858.1594 | 21.35 | 14531.0235 | 0 | 0 | 0 | 0 | As per requirment of Anantapur Councourse GM Instructions.
63 | 106111 | Providing 10mm thick Plaster of Paris (gypsum anhydrous) ceiling upto a height of 5m above floor level over 1st class kail or similar wood strips 25x6mm with 10mm gap in between and reinforced with rabbit wire mesh fixed to wooden frame (frame work to be paid separately) Flat surfaces | M | sqm | 647.44 | 75 | 48558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.75 | 12139.5 | 56.25 | 36418.5 | No Variation, as per site condition.
64 | 106112 | Providing 10mm thick Plaster of Paris (gypsum anhydrous) ceiling upto a height of 5m above floor level over 1st class kail or similar wood strips 25x6mm with 10mm gap in between and reinforced with rabbit wire mesh fixed to wooden frame (frame work to be paid separately) Curved surfaces | M | sqm | 723.52 | 8 | 5788.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1447.04 | 6 | 4341.12 | No Variation, as per site condition.
65 | 106120 | Extra for any sunk or raised Moulding in the Plaster of Paris (gypsum anhydrous) ceiling | M | sqm | 188.25 | 65.9 | 12405.675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.47 | 3100.4775 | 49.43 | 9305.1975 | No Variation, as per site condition.
66 | 111012 | 12 mm cement plaster of mix - etc., - 1:6 (1cement: 6fine sand) | M | sqm | 67.02 | 657.41 | 44059.6182 | 1123.51 | 75297.6402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 466.1 | 31238.022 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
67 | 111022 | 15 mm cement plaster on the rough side of single o etc., - 1:6 (1cement: 6 fine sand) | M | sqm | 77.03 | 28.03 | 2159.1509 | 76.83 | 5918.2149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.03 | 2159.1509 | 20.77 | 1599.9131 | 0 | 0 | 0 | 0 | As required as per site condition
68 | 111110 | 18 mm cement plaster in two coats under layer 12mm thick cement plaster 1:5 (1cement: 5coarse sand) finished with a top layer 6mm thick cement plaster 1:6 (1cement: 6fine sand) | M | sqm | 103.39 | 640.67 | 66238.8713 | 640.67 | 66238.8713 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
69 | 112040 | Providing and applying plaster of Paris putty of 2mm average thickness over plastered surface to prepare the surface even and smooth complete | M | sqm | 72.61 | 440 | 31948.4 | 566.48 | 41132.1128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.48 | 9183.7128 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement site condition and GM Instructions.
70 | 114041 | Pointing on stone work with cement mortar 1:3 (1cement: 3fine sand) Flush/ Ruled pointing | M | sqm | 78.05 | 1170 | 91318.5 | 950 | 74147.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220 | 17171 | 0 | 0 | No Variation, as per site condition.
71 | 115060 | Applying one coat of cement primer of approved brand and manufacture on wall surface | M | sqm | 21.75 | 440 | 9570 | 635.18 | 13815.165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.18 | 4245.165 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement site condition and GM Instructions.
72 | 123101 | Painting Station Name boards (both sides) including lettering on both sides two coats of synthetic enamel paint to give an even shade Board area more than 2 sqm | M | each | 193.55 | 10 | 1935.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 483.875 | 7.5 | 1451.625 | No Variation, as per site condition.
73 | 115090 | Wall painting on new work with two or more coats of plastic emulsion paint of approved brand and manufacture to give an even shade | M | sqm | 53.05 | 65.9 | 3495.995 | 674.45 | 35779.5725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.9 | 3495.995 | 542.65 | 28787.5825 | 0 | 0 | 0 | 0 | As per requirement site condition and GM Instructions.
74 | 115091 | Wall painting on new work with two or more coats o etc., - Extra over Items for roller painting in lieu of normal brush painting if specifically ordered | M | sqm | 10.39 | 296.55 | 3081.1545 | 724.43 | 7526.8277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 296.55 | 3081.1545 | 131.33 | 1364.5187 | 0 | 0 | 0 | 0 | As per requirement site condition and GM Instructions.
75 | 117092 | Plastic emulsion paint after removing white/colou etc., - One or more coat, to give an even shade | M | sqm | 58.01 | 230.66 | 13380.5866 | 457.21 | 26522.7521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226.55 | 13142.1655 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement site condition and GM Instructions.
76 | 121013 | Applying Priming Coat : With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanized | M | sqm | 18.82 | 20 | 376.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 94.1 | 15 | 282.3 | Not operated site condition.
77 | 121051 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade Two or more coats on new work | M | sqm | 47.41 | 240 | 11378.4 | 240 | 11378.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per acutal site condition.
78 | 121052 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade One or more coats on old work | M | sqm | 30.76 | 19.55 | 601.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.887 | 150.3241 | 14.663 | 451.0339 | As per acutal site condition.
79 | 132190 | Providing and fixing C.P. brass long nose bib cock, 15 mm nominal bore, of approved quality conforming to IS standards and weighing not less than 810 gms | M | each | 365.47 | 11 | 4020.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.75 | 0 | 7.75 | 0 | 0 | As per acutal site condition.
80 | 132210 | Providing and fixing C.P. brass stop cock, 15 mm nominal bore, (concealed) of standard design and of approved make conforming to IS:8931 | M | each | 367.7 | 16 | 5883.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1470.8 | 12 | 4412.4 | As per acutal site condition.
81 | 132250 | Supplying and fixing brass chromium plated (Two in one) type wall mixer SINGLE LEVER HOT AND COLD WATER MIXER having either fixed type over head shower or telephonic shower as approved by Engineer In-charge including all components like adjustable legs, wall flange, rigid tube or flexible pipe etc. complete | M | each | 1392.32 | 3 | 4176.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 1044.24 | 2.25 | 3132.72 | As per acutal site condition.
82 | 136150 | Providing and placing on terrace/staging (at all heights) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | M | ltr | 6.43 | 4000 | 25720 | 4000 | 25720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per acutal site condition.
83 | 151031 | Providing and fixing white vitreous china pedestal etc., - W.C. pan with ISI marked white solid plastic seat and lid. | M | each | 4208.21 | 3 | 12624.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 3156.1575 | 2.25 | 9468.4725 | As per acutal site condition.
84 | 151074 | Providing and fixing wash basin with C.I./ M.S. b etc., - white vitreous china flat back wash basin size 550x400mm with single 15mm C.P. brass pillar tap | M | each | 1364.59 | 1 | 1364.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 341.1475 | 0.75 | 1023.4425 | As per acutal site condition.
85 | 151100 | Supplying and fixing white vitreous china circular wash basin category No. 1004 group I, size 470 mm. dia with CP brass pillar tap, 32 mm. rubber plug and CP brass chain, 32 mm. CP brass waste of standard pattern connected with GI waste pipe upto floor le | M | each | 1339.28 | 3 | 4017.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 1004.46 | 2.25 | 3013.38 | As per acutal site condition.
86 | 151110 | Providing and fixing white, vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings | M | each | 1042.84 | 1 | 1042.84 | 1 | 1042.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per acutal site condition.
87 | 151122 | Providing and fixing white, vitreous china water etc., - Orissa pattern W.C. pan of size 580x440mm | M | each | 1240.18 | 2 | 2480.36 | 4 | 4960.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2480.36 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
88 | 151131 | Extra for using coloured W.C. pan instead of white etc., - Orissa pattern W.C. pan 580x440mm or of any other size | M | each | 461.12 | 2 | 922.24 | 2 | 922.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
89 | 151150 | Extra for using coloured pedestal type W.C. pan (European type) with low level cistern of same colour instead of white, vitreous china W.C. pan and cistern | M | each | 1037.22 | 3 | 3111.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 777.915 | 2.25 | 2333.745 | No Variation, as per site condition.
90 | 151182 | Providing and fixing P.V.C. low level flush etc., - 10 litre capacity- Coloured | M | pair | 931.04 | 2 | 1862.08 | 2 | 1862.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
91 | 152122 | Providing and fixing mirror of 5.5 mm thickness o etc., - Rectangular shape 453x357mm (outer dimension) | M | each | 629.24 | 2 | 1258.48 | 2 | 1258.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
92 | 151230 | Extra for providing coloured other than black solid P.V.C. plastic seat and cover in European type W.C. pan, instead of white, plastic seat and cover | M | each | 145.19 | 3 | 435.57 | 2 | 290.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 108.8925 | 0.25 | 36.2975 | No Variation, as per site condition.
93 | 152141 | Providing and fixing toilet paper holder etc., - C.P. brass | M | each | 192.13 | 3 | 576.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 144.0975 | 2.25 | 432.2925 | No Variation, as per site condition.
94 | 153272 | Providing and fixing trap of self cleansing desig etc., - 100mm inlet and 100mm outlet sand cast iron S&S as per IS:1729 | M | each | 565.71 | 3 | 1697.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 424.2825 | 2.25 | 1272.8475 | No Variation, as per site condition.
95 | 153380 | Providing and fixing C P brass Soap dish holder having length of 138 mm, 102 mm wide, 75 mm high with concealed fittings arrangements weighing approx. 110 gms | M | each | 186.31 | 1 | 186.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 46.5775 | 0.75 | 139.7325 | No Variation, as per site condition.
96 | 153410 | Providing and fixing Towel rail (C.P.)brass15 mm dia x 600 mm long having approx. wt.500 gm | M | each | 385.14 | 9 | 3466.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.25 | 866.565 | 6.75 | 2599.695 | No Variation, as per site condition.
97 | 153460 | Providing and fixing C P brass Swivelling shower 15 mm nominal size, 95 mm long, 60 mm dia. & having approx. wt. of 45 gms with approx. 90 holes of 1.2 mm dia. | M | each | 225.37 | 4 | 901.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 225.37 | 3 | 676.11 | No Variation, as per site condition.
98 | 153570 | Providing and fixing Soap dish (C.P. Brass) having approx. wt. 220 gm | M | each | 181.24 | 6 | 1087.44 | 2 | 362.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 271.86 | 2.5 | 453.1 | No Variation, as per site condition.
99 | 154010 | Providing and fixing 110mm dia PVC soil, waste and vent pipes including jointing and cost of spun yarn and sand etc. complete | M | mtr | 263.03 | 180 | 47345.4 | 200 | 52606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 5260.6 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
100 | 154040 | Providing and fixing 110 mm x 110 mm x 110mm dia PVC plain branch (single equal junction)of the required degree with access door inclusive of 3mm thick bitumastic felt washer and bolts and nuts, complete, including jointing and the cost of spun yarn and sand etc., complete | M | each | 180.33 | 5 | 901.65 | 13 | 2344.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 901.65 | 3 | 540.99 | 0 | 0 | 0 | 0 | As required as per site condition
101 | 154100 | Providing and fixing 110 mm PVC Plain bend of the required degree with access door inclusive of 3mm thick bitumastic felt washer, bolts and nuts, complete, including jointing and cost of spun yarn and sand etc. complete | M | each | 97.29 | 5 | 486.45 | 30 | 2918.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 486.45 | 20 | 1945.8 | 0 | 0 | 0 | 0 | As required as per site condition
102 | 155240 | Supplying and fixing approved quality chromium plated shirt hooks (One unit of 4 hooks) with all necessary fittings etc. complete and as directed by the Engineer-in-charge | M | each | 91.3 | 1 | 91.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 22.825 | 0.75 | 68.475 | No Variation, as per site condition.
103 | 161020 | Supplying and stacking of good earth at site including royalty (earth measured in stacks will be reduced by 20% for payment) | M | cum | 241.75 | 50 | 12087.5 | 189.06 | 45705.255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 12087.5 | 89.06 | 21530.255 | 0 | 0 | 0 | 0 | As required as per site condition and GM Instructions.
104 | 161041 | Supplying and stacking at site dump manure / farm manure / animal dung manure from approved source; including all lead and lift etc. (manure measured in stacks will be reduced by 8% for payment) Screened through sieve of I.S. designation 20mm | M | cum | 105.25 | 10 | 1052.5 | 10 | 1052.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
105 | 161090 | Spreading of sludge, dump manure/ farm manure/animal dung manure and good earth in required thickness (cost of sludge, dump manure/farm manure or/ and good earth to be paid separately) | M | 100 sqm | 15.91 | 930 | 147.963 | 930 | 147.963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
106 | 161100 | Mixing earth and sludge or manure in proportion specified or directed. (Net total quantity of earth, sludge or manure after deduction of voids to be cosidered for payment) | M | cum | 10.93 | 60 | 655.8 | 60 | 655.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
107 | 161520 | Uprooting weeds on or from station platforms, surroundings as well as slopes after loosening surface by raking | M | 100 sqm | 373.27 | 9500 | 35460.65 | 9500 | 35460.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
108 | 162606 | Hedge/Edge Plants Duranta goldiana in polybag | M | each | 5.81 | 800 | 4648 | 800 | 4648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
109 | 162901 | Other Items Selection No 1 grass carpet | M | sqm | 105.7 | 930 | 98301 | 930 | 98301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
110 | 171041 | Renewing glass panes with putty and nails wherever necessary Float Glass panes of thickness 4 mm | M | sqm | 634.14 | 6.48 | 4109.2272 | 26.42 | 16753.9788 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.48 | 4109.2272 | 13.46 | 8535.5244 | 0 | 0 | 0 | 0 | As required as per site condition
111 | 172020 | Supplying, erecting and fixing precast concrete reinforced bench with back rest. Bench shall consist of 2 nos. L shaped base support in natural cement colour of thickness 100 mm, back height 1000 mm, front height 450 mm, base width 620 mm and 5 nos. reinf | NF | each | 8326.74 | 25 | 208168.5 | 25 | 208168.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Variation, as per site condition.
112 | 231010 | Preparation of subgrade by excavating earth upto 22.5cm depth, dressing to camber and consolidating with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and disposal of surplus earth with lead upto 50 metres | M | sqm | 45.87 | 402.07 | 18442.9509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.5175 | 4610.7377 | 301.55 | 13832.0985 | Not operated as per site condition.
113 | 236010 | Cement concrete Grade M15 of coarse aggregate 40mm nominal size, in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete | NF | cum | 1876.03 | 60.31 | 113143.3693 | 66.99 | 125675.2497 | 6.68 | 28290.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition
|  | Total |  |  |  |  | 3259578.0636 |  | 3393820.0942 |  | 117709.5295 |  | 53651.3997 |  | 35767.5998 |  | 155942.2021 |  | 0 |  | 366797.9413 |  | 484461.6202 |  | 405253.2738 |  | 583987.1193
|  | ADD (+) 17 % as per Agt |  |  |  |  | 554128.2708 |  | 576949.416 |  | 20010.62 |  | 9120.7379 |  | 6080.492 |  | 26510.1744 |  | 0 |  | 62355.65 |  | 82358.4754 |  | 68893.0566 |  | 99277.8103
|  | G Total |  |  |  |  | 3813706.3344 |  | 3970769.5102 |  | 137720.1495 |  | 62772.1376 |  | 41848.0917 |  | 182452.3765 |  | 0 |  | 429153.5913 |  | 566820.0956 |  | 474146.3304 |  | 683264.9296
|  | 98% of the rate =( -) 2% | [6 empty] | 32900.2653 |  |  |  | 1255.4428
|  | 96% of the rate = (-) 4% | [12 empty] | 1673.9237 |  | 7298.0951 | [5 empty] | 22672.8038
[6 empty] | ` |  |  | 3937869.2449
|  | Grand Total of Schedule B |  |  |  |  | 3813706.3344 |  | 4044161.2514 |  | 137720.1495 |  | 61516.6949 |  | 40174.1681 |  | 175154.2814 |  | 0 |  | 429153.5913 |  | 544147.2918 |  | 474146.3304 |  | 683264.9296
Sch "C" (EARTH WORK)
1 | 013111 | Earthwork in cutting (Classified) in formation, trolley refuges, side drains, level crossing approaches, platforms, catch water drains, diversion of nallah & finishing to required dimension and slopes to obtain a neat appearance to standard profile inclusive of all labour, machine and materials and removing & leading all cut spoils either to make spoil dumps beyond 10m. from cutting edge or for filling in embankment with all leads within the section limit, lifts, ascent, descent, loading, unloading, all taxes/royalty, clearence of site and all incidental charges, bailing & pumping out water if required, etc | NF | cum | 140.4 | 720 | 101088 | 720 | 101088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
2 | 013120 | Earth work in filling in embankment, guide bunds, arround buried type abutments, bridge gaps, trolly refuges, rain bunds if provided, platforms etc. with earth excavated from outside Railway boundary entirely arranged by the contractor at his own cost as per RDSO's latest guidlines and specifications and special conditions of contract including all leads, royalty , lifts, ascents, descents, crossing of nallahs or any other obstructions. the rates shall include | NF | cum | 164.84 | 6400 | 1054976 | 6400 | 1054976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
3 | 013130 | Extra for machanical compaction of earth/blanketing material filled in embankment with contractor's rollers of suitable capacity, type and size to achieve specified density as per specification, testing as per IS codes incl. cost of water, T&P consumable material and all labour as a complete job. The work is to be executed as per latest edition of "Guidelines for Earthwork in Railway projects" issued by RDSO, Lucknow. | NF | cum | 13.67 | 6400 | 87488 | 6400 | 87488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
|  | Total |  |  |  |  | 1243552 |  | 1243552 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)15.2 % as per Agt |  |  |  |  | 189019.904 |  | 189019.904 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 1432571.904 |  | 1432571.904 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 0 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 1432571.904
|  | Grand Total of Schedule C |  |  |  |  | 1432571.904 |  | 1432571.904 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Sch "D" EARTH WORK)
1(A) | 033062 | Supply and using cement at work site (OPC 53 grade ,Foundation items) | F | Ton | 4600 | 160.1063 | 736488.98 | 265.1603 | 1219737.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105.054 | 483248.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
1(B) | 033062 | Supply and using cement at work site (OPC 53 grade ,Other than Foundation items) | NF | Ton | 4600 | 203.8995 | 937937.838 | 190.8995 | 878137.838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 59800 | 0 | 0 | As required as per site condition.
2(A) | 033063 | Supply and using cement at work site (PPC 53 grade ,Foundation items) | F | Ton | 4370 | 6.21 | 27137.7 | 7.412 | 32390.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.202 | 5252.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
2(B) | 033063 | Supply and using cement at work site (PPC 53 grade ,Other than Foundation items) | M | Ton | 4370 | 18.0384 | 78827.7206 | 18.0384 | 78827.7206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
|  | Total |  |  |  |  | 1780392.2386 |  | 2209093.3786 |  | 0 |  | 0 |  | 0 |  | 0 |  | 488501.14 |  | 0 |  | 0 |  | 59800 |  | 0
|  | ADD (+)26 % as per Agt |  |  |  |  | 462901.982 |  | 574364.2784 |  | 0 |  | 0 |  | 0 |  | 0 |  | 127010.2964 |  | 0 |  | 0 |  | 15548 |  | 0
|  | tOTAL |  |  |  |  | 2243294.2206 |  | 2783457.657 |  | 0 |  | 0 |  | 0 |  | 0 |  | 615511.4364 |  | 0 |  | 0 |  | 75348 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 0 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 2783457.657
|  | Grand Total of Schedule D |  |  |  |  | 2243294.2206 |  | 2783457.657 |  | 0 |  | 0 |  | 0 |  | 0 |  | 615511.4364 |  | 0 |  | 0 |  | 75348 |  | 0
Sch "E" (EARTH WORK)
1 | 045013 | Supplying Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. Cold twisted bars | NF | Kg | 50.76 | 3728 | 189233.28 | 7500 | 380700 | 932 | 47308.32 | 559.2 | 28384.992 | 372.8 | 18923.328 | 1908 | 96850.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition for New PRS Building, Anantapur.
2 | 045016 | Supplying Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. Thermo-Mechanically Treated bars | M | Kg | 50.76 | 500 | 25380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 6345 | 375 | 19035 | Not operated as per site condition.
|  | Total |  |  |  |  | 214613.28 |  | 380700 |  | 47308.32 |  | 28384.992 |  | 18923.328 |  | 96850.08 |  | 0 |  | 0 |  | 0 |  | 6345 |  | 19035
|  | ADD (+)8 % as per Agt |  |  |  |  | 17169.0624 |  | 30456 |  | 3784.6656 |  | 2270.7994 |  | 1513.8662 |  | 7748.0064 |  | 0 |  | 0 |  | 0 |  | 507.6 |  | 1522.8
|  | tOTAL |  |  |  |  | 231782.3424 |  | 411156 |  | 51092.9856 |  | 30655.7914 |  | 20437.1942 |  | 104598.0864 |  | 0 |  | 0 |  | 0 |  | 6852.6 |  | 20557.8
|  | 98% of the rate =( -) 2% | [6 empty] | 5614.5271 |  |  |  | 613.1158
|  | 96% of the rate = (-) 4% | [12 empty] | 817.4878 |  | 4183.9235 | [5 empty] | 0
[6 empty] | ` |  |  | 405541.4729
|  | Grand Total of Schedule E |  |  |  |  | 231782.3424 |  | 405541.4729 |  | 51092.9856 |  | 30042.6755 |  | 19619.7065 |  | 100414.1629 |  | 0 |  | 0 |  | 0 |  | 6852.6 |  | 20557.8
Sch "F"
1 | 081011 | Structural steel work in single section inc etc., - In RSJ, tees, angles and channels Note for Items 081011, 081021 & 081022 : These rates are not to be paid for ironwork with rails, which should be paid under each item separately. | M | kg | 61.19 | 800 | 48952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 12238 | 600 | 36714 | As required as per site condition (No Variation).
2 | 081031 | Structural steel work welded in built up se etc., - In RSJ, tees, angles and channels Note for Item 081030 : Purlins and wind bracings shall be paid separately under item 81010. | NF | kg | 80 | 4269.96 | 341596.8 | 4269.96 | 341596.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
3 | 082011 | Providing and fixing anodised aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285, anodised transparent or dyed to required shade according to IS:1868 (Minimum anodic coating of grade AC 15), fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, | M | kg | 345.16 | 145.5 | 50220.78 | 250.7 | 86531.612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105.2 | 36310.832 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition and New PRS Building, Anantapur GM Instructions.
4 | 082012 | Providing and fixing anodised aluminium work etc., - For openable/sliding portions and fixing hinges / pivots, PVC/ neoprene gasket required and making provision for fixing of fittings. (Fittings shall be paid for separately) | M | kg | 353.19 | 162 | 57216.78 | 119.6 | 42241.524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.5 | 14304.195 | 1.9 | 671.061 | No Variation, as per site condition.
5 | 082050 | Providing and fixing anodised aluminium work (with minimum 15 micron uniform anodic coating) consisting of tee/angle sections, of approved make conforming to IS:733 in frames of false ceiling including aluminium angle cleats with necessary C.P. brass/stai | M | kg | 479.91 | 94 | 45111.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5 | 11277.885 | 70.5 | 33833.655 | As required as per site condition and New PRS Building, Anantapur GM Instructions.
6 | 083050 | Fabricating, supplying & installing stainless steel railings for staircases, balconies, FOBs, Enquiry/Reservation complex etc., made of SS 304 grade stainless steel, laser cut / water jet cut (no shearing), polished with Automatic round/flat polishing mac | NF | kg | 500.8 | 228 | 114182.4 | 548.37 | 274623.696 | 57 | 28545.6 | 34.2 | 17127.36 | 22.8 | 11418.24 | 206.37 | 103350.096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition and New PRS Building, Anantapur GM Instructions.
|  | Total |  |  |  |  | 657280.3 |  | 744993.632 |  | 28545.6 |  | 17127.36 |  | 11418.24 |  | 103350.096 |  | 0 |  | 36310.832 |  | 0 |  | 37820.08 |  | 71218.716
|  | ADD (+)17 % as per Agt |  |  |  |  | 111737.651 |  | 126648.9174 |  | 4852.752 |  | 2911.6512 |  | 1941.1008 |  | 17569.5163 |  | 0 |  | 6172.8414 |  | 0 |  | 6429.4136 |  | 12107.1817
|  | tOTAL |  |  |  |  | 769017.951 |  | 871642.5494 |  | 33398.352 |  | 20039.0112 |  | 13359.3408 |  | 120919.6123 |  | 0 |  | 42483.6734 |  | 0 |  | 44249.4936 |  | 83325.8977
|  | 98% of the rate =( -) 2% | [6 empty] | 5771.9383 |  |  |  | 400.7802
|  | 96% of the rate = (-) 4% | [12 empty] | 534.3736 |  | 4836.7845 | [5 empty] | 0
[6 empty] | ` |  |  | 865870.6111
|  | Grand Total of Schedule F |  |  |  |  | 769017.951 |  | 865870.6111 |  | 33398.352 |  | 19638.231 |  | 12824.9672 |  | 116082.8278 |  | 0 |  | 42483.6734 |  | 0 |  | 44249.4936 |  | 83325.8977
Sch "G"
1 | 131133 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. Internal work – Exposed on wall 25 mm dia. nominal bore | M | M | 207.78 | 25 | 5194.5 | 25 | 5194.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
2 | 131141 | Providing and fixing medium grade G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the wall etc. Concealed pipe including painting with anti corrosive bitumestic paint, cutting chase and making good the wall 15 mm dia. nominal bore | M | M | 172.64 | 80 | 13811.2 | 80 | 13811.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
3 | 131142 | Providing and fixing medium grade G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the wall etc. Concealed pipe including painting with anti corrosive bitumestic paint, cutting chase and making good the wall 20 mm dia. nominal bore | M | M | 196.68 | 50 | 9834 | 50 | 9834 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
4 | 131143 | Providing and fixing medium grade G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the wall etc. Concealed pipe including painting with anti corrosive bitumestic paint, cutting chase and making good the wall 25 mm dia. nominal bore | M | M | 247.44 | 30 | 7423.2 | 30 | 7423.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
5 | 131153 | Providing and fixing medium grade G.I. pipes complete with G.I. fittings including trenching and refilling etc. External Work 25 mm dia. nominal bore | M | M | 196.18 | 120 | 23541.6 | 120 | 23541.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
6 | 131156 | Providing and fixing medium grade G.I. pipes complete with G.I. fittings including trenching and refilling etc. External Work 50 mm dia. nominal bore | NF | M | 335.65 | 800 | 268520 | 800 | 268520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
7 | 132171 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet 100mm diameter | M | Each | 51.87 | 1 | 51.87 | 1 | 51.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
8 | 132200 | Providing and fixing C.P. brass long body bib cock, 15 mm nominal bore, of approved quality conforming to IS standards and weighing not less than 690 gms | M | Each | 369.36 | 3 | 1108.08 | 4 | 1477.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 369.36 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
9 | 136133 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (new work) 25mm nominal bore | M | Each | 157.22 | 2 | 314.44 | 2 | 314.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition (No Variation).
|  | Total |  |  |  |  | 329798.89 |  | 330168.25 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 369.36 |  | 0 |  | 0 |  | 0
|  | ADD (+)26 % as per Agt |  |  |  |  | 85747.7114 |  | 85843.745 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 96.0336 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 415546.6014 |  | 416011.995 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 465.3936 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 0 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 416011.995
|  | Grand Total of Schedule G |  |  |  |  | 415546.6014 |  | 416011.995 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 465.3936 |  | 0 |  | 0 |  | 0
Sch "H"
1 | 109230 | Supply and Installation, including lifting to all heights as required, trapezoidal/corrugated sheeting system in galvalume colour coated steel having cover width of 1000 mm, 35 mm crest at a pitch of 250 mm stiffened with 8 mm deep intermittent corrugatio | NF | sqm | 543.1 | 355.42 | 193028.602 | 465 | 252541.5 | 88.855 | 48257.1505 | 20.725 | 11255.7475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
|  | Total |  |  |  |  | 193028.602 |  | 252541.5 |  | 48257.1505 |  | 11255.7475 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)15.2 % as per Agt |  |  |  |  | 29340.3475 |  | 38386.308 |  | 7335.0869 |  | 1710.8736 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 222368.9495 |  | 290927.808 |  | 55592.2374 |  | 12966.6211 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 259.3324 |  |  |  | 259.3324
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 290668.4756
|  | Grand Total of Schedule H |  |  |  |  | 222368.9495 |  | 290668.4756 |  | 55592.2374 |  | 12707.2887 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Sch "I"
1 | NS-2010-04 (NS-117100) | Finishing walls with water proofing cement paint of approved brand and manufacture and of required shade to given an even shade after thoroughtly brushing the surface clean from dust, dirt etc. and remains of loose powdered materials and foreign matter like softened paint etc. cleaning the area after the work and includgn curing comquiet - One coat on decorated surfaces | NF | sqm | 17.93 | 969.8 | 17388.514 | 969.8 | 17388.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
|  | Total |  |  |  |  | 17388.514 |  | 17388.514 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)8 % as per Agt |  |  |  |  | 1391.0811 |  | 1391.0811 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 18779.5951 |  | 18779.5951 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 0 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 0 | [5 empty] | 0
[6 empty] | ` |  |  | 18779.5951
|  | Grand Total of Schedule I |  |  |  |  | 18779.5951 |  | 18779.5951 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
NEW SSR ITEM UNDER SCHEDULE "B"
1 | 115011 | White washing with lime to give an even shade New work (three or more coats) | NF | sqm | 9.52 | 0 | 0 | 500 | 4760 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 4760 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition PW Offce Sheid.
2 | 115031 | Colour washing such as green, blue or buff to give an even shade New work (two or more coats) with a base coat of white washing with lime | NF |  | 11.83 | 0 | 0 | 500 | 5915 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 5915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition PW Offce Sheid.
3 | 061020 | Extra for random rubble masonry with hard stone in superstructure above plinth level up to floor two level, including levelling up with concrete as per specifications, at window sills, ceiling level and the like | NF |  | 455.48 | 0 | 0 | 100 | 45548 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 45548 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition PW Offce Sheid.
4 | 081281 | Providing and fixing pressed steel door frames manufactured from commercial mild steel sheet of 1.25mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 25mm thick with mortar guard, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pretreatment of the surface as directed by the Engineer-in-Charge Profile-A (105x60mm) Single rebate | NF |  | 302.29 | 0 | 0 | 60 | 18137.4 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 18137.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition PW Offce Sheid and New PRS Building Anantapur.
5 | 105192 | Grading roof for water proofing treatment with- Cement mortar 1:3 (1 cement, 3 coarse sand) | NF |  | 1801.9 | 0 | 0 | 10 | 18019 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 18019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement site condition New PRS Building, Anantapur.
6 | 032060 | Extra for providing and mixing water proofing material of brand approved by railway, if not included in relevant item. | NF |  | 104.54 | 0 | 0 | 100 | 10454 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 10454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As per requirement site condition New PRS Building, Anantapur.
|  | Total |  |  |  |  | 0 |  | 102833.4 |  | 0 |  | 0 |  | 0 |  | 102833.4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)17 % as per Agt |  |  |  |  | 0 |  | 17481.678 |  | 0 |  | 0 |  | 0 |  | 17481.678 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 0 |  | 120315.078 |  | 0 |  | 0 |  | 0 |  | 120315.078 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 4812.6031 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 4812.6031 | [5 empty] | 0
[6 empty] | ` |  |  | 115502.4749
|  | Grand Total New Item Under Schedule "B" |  |  |  |  | 0 |  | 115502.4749 |  | 0 |  | 0 |  | 0 |  | 115502.4749 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
NEW NS ITEM
1 | 1 | Supplying and fixing of elevation dado tiles comform to oasis johson and khajara tiles size 25cm, 38cm or 30 cm and 45cm and are on similar made confirming to IS with all contractor materials, tools, plants, transportion, lead, lift all taxes etc including fixing at site with contractor skilled labour and unskilled labour etc. complete and as per the instruction and as direction of engineer in charge | NF | sqm | 1718 | 0 | 0 | 9.5 | 16321 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5 | 16321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | As required as per site condition.
|  | Total |  |  |  |  | 0 |  | 16321 |  | 0 |  | 0 |  | 0 |  | 16321 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | ADD (+)8 % as per Agt |  |  |  |  | 0 |  | 1305.68 |  | 0 |  | 0 |  | 0 |  | 1305.68 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | tOTAL |  |  |  |  | 0 |  | 17626.68 |  | 0 |  | 0 |  | 0 |  | 17626.68 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | 98% of the rate =( -) 2% | [6 empty] | 705.0672 |  |  |  | 0
|  | 96% of the rate = (-) 4% | [12 empty] | 0 |  | 705.0672 | [5 empty] | 0
[6 empty] | ` |  |  | 16921.6128
|  | Grand Total NEW NS ITEM |  |  |  |  | 0 |  | 16921.6128 |  | 0 |  | 0 |  | 0 |  | 16921.6128 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SUMMARY
|  | SCHEDULE' A |  |  |  |  | 2547414.3034 | 0 | 2176963.04 |  | 0 |  | 0 |  | 0 |  | 0 |  | 41153.2875 |  | 0 |  | 0 |  | 0 |  | 0
|  | SCHEDULE' B |  |  |  |  | 3813706.3344 | 0 | 4044161.2514 |  | 137720.1495 |  | 61516.6949 |  | 40174.1681 |  | 175154.2814 |  | 0 |  | 429153.5913 |  | 544147.2918 |  | 474146.3304 |  | 683264.9296
|  | SCHEDULE' C |  |  |  |  | 1432571.904 |  | 1432571.904 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SCHEDULE' D |  |  |  |  | 2243294.2206 |  | 2783457.657 |  | 0 |  | 0 |  | 0 |  | 0 |  | 615511.4364 |  | 0 |  | 0 |  | 75348 |  | 0
|  | SCHEDULE' E |  |  |  |  | 231782.3424 |  | 405541.4729 |  | 51092.9856 |  | 30042.6755 |  | 19619.7065 |  | 100414.1629 |  | 0 |  | 0 |  | 0 |  | 6852.6 |  | 20557.8
|  | SCHEDULE' F |  |  |  |  | 769017.951 |  | 865870.6111 |  | 33398.352 |  | 19638.231 |  | 12824.9672 |  | 116082.8278 |  | 0 |  | 42483.6734 |  | 0 |  | 44249.4936 |  | 83325.8977
|  | SCHEDULE' G |  |  |  |  | 415546.6014 |  | 416011.995 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 465.3936 |  | 0 |  | 0 |  | 0
|  | SCHEDULE' H |  |  |  |  | 222368.9495 |  | 290668.4756 |  | 55592.2374 |  | 12707.2887 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SCHEDULE' I |  |  |  |  | 18779.5951 |  | 18779.5951 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | NEW SSR ITEM |  |  |  |  | 0 |  | 115502.4749 |  | 0 |  | 0 |  | 0 |  | 115502.4749 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 11694482.2019 |  | 12549528.477 |  | 277803.7244 |  | 123904.8901 |  | 72618.8417 |  | 507153.747 |  | 656664.7239 |  | 472102.6584 |  | 544147.2918 |  | 600596.424 |  | 787148.6273
12961133.0279
Financial Implication
| 1 | Original Agreement value |  |  |  |  | 11694482.2019
| 2 | Foundation items |  |  |  |  | 656664.7239
| 3 | Non-Foundation Item Excess up to 25% |  |  |  |  | 277803.7244
| 4 | Non-Foundation Item Excess with in 25%-40% |  |  |  |  | 123904.8901
| 5 | Non-Foundation Item Excess with in 40%-50% |  |  |  |  | 72618.8417
| 6 | Non-Foundation Item Excess beyond 50% |  |  |  |  | 507153.747
| 7 | Minor item Excess within 100% |  |  |  |  | 472102.6584
| 8 | Minor Item Excess beyond 100% |  |  |  |  | 544147.2918
| 9 | Gross excess |  |  |  |  | 2654395.8773
| 10 | Gross excess in % age |  |  |  |  | 22.6978
| 11 | Gross value of the Agreement. |  |  |  |  | 14348878.0792
| 12 | Saving upto 25% |  |  |  |  | 600596.424
| 13 | Saving beyond 25% |  |  |  |  | 787148.6273
| 14 | Total Saving |  |  |  |  | 1387745.0513
| 15 | Gross Savings in % age |  |  |  |  | 11.8667
| 16 | Net Excess |  |  |  |  | 1266650.8261
| 17 | Net Excess in % age |  |  |  |  | 10.8312
| 18 | Revised Agt. Value |  |  |  |  | 12961133.0279
It is to certify that we have no claims of any kind on the savings occurred in this agreement and we are herewith furnishing an undertaking that we will not claim for the same in future.
We are hereby agree to execute the quantities upto 50% and operation of additional items as shown above and no claims will be prefered on later date due to non operation of certain items and operation of more /less than the original /revised agreement quantities.
The Qunatities proposed to be reduced will not be required in the same work at a later date and also due to the decreased quantities , tender is not vitiated.
Contractor |  | SSE/Drg/GTL |  | sse/w/amm | [6 empty] | ADEN/ATP | [5 empty] | DEN/Central/GTL